ENGINEERING SPECIFICATION

PULTRUDED PEDESTRIAN FIBERGLASS GRATING

SAFE-T-SPAN® T3815

VINYL ESTER and ISOPHTHALIC

SECTION 06610

FIBERGLASS REINFORCED PLASTICS (FRP) FABRICATIONS

PULTRUDED PEDESTRIAN GRATING

PART 1 - GENERAL

1.1  	SCOPE OF WORK

- The CONTRACTOR shall furnish, fabricate (where necessary), and install all fiberglass reinforced plastic (FRP) items, with all appurtenances, accessories and incidentals necessary to produce a complete, operable and serviceable installation as shown on the Contract Drawings and as specified herein, and in accordance with the requirements of the Contract Documents.

1.2  	REFERENCES

- The publications listed below (latest revision applicable) form a part of this specification to the extent referenced herein.  The publications are referred to within the text by the designation only.

AMERICAN SOCIETY FOR TESTING AND MATERIALS (ASTM) Test Methods:

ASTM D 635	Rate of Burning and/or Extent and Time of Burning of Self-Supporting Plastics in a Horizontal Position

ASTM D 732  	Shear Strength of Plastics by Punch Tool

ASTM E 84   	Surface Burning Characteristics of Building Materials

1.3  	CONTRACTOR SUBMITTALS

- The CONTRACTOR shall furnish shop drawings of all fabricated gratings and accessories in accordance with the provisions of this Section.

- The CONTRACTOR shall furnish manufacturer's shop drawings clearly showing material sizes, types, styles, part or catalog numbers, complete details for the fabrication of and erection of components including, but not limited to, location, lengths, type and sizes of fasteners, clip angles, member sizes, and connection details.

- The CONTRACTOR shall submit the manufacturer’s published literature including structural design data, structural properties data, grating load/deflection tables, corrosion resistance tables, certificates of compliance, test reports as applicable, concrete anchor systems and their allowable load tables, and design calculations for systems not sized or designed in the contract documents.

- The CONTRACTOR shall submit sample pieces of each item specified herein for acceptance by the ENGINEER as to quality and color.  Sample pieces shall be manufactured by the method to be used in the WORK.

1.4 	QUALITY ASSURANCE

- All items to be provided under this Section shall be furnished only by manufacturers having a minimum of ten (10) years experience in the design and manufacture of similar products and systems.  Additionally, if requested, a record of at least five (5) previous, separate, similar successful installations in the last five (5) years shall be provided.

- Manufacturer shall offer a 3 year limited warranty on all FRP products against defects in materials and workmanship.

- Manufacturer shall be certified to the ISO 9001-2008 standard.

- Manufacturer shall provide proof of certification from at least two other quality assurance programs for its facilities or products (DNV, ABS, USCG, AARR).

1.5 	PRODUCT DELIVERY AND STORAGE

- Delivery of Materials: Manufactured materials shall be delivered in original, unbroken pallets, packages, containers, or bundles bearing the label of the manufacturer.  Adhesives, resins and their catalysts and hardeners shall be crated or boxed separately and noted as such to facilitate their movement to a dry indoor storage facility.

- Storage of Products: All materials shall be carefully handled to prevent them from abrasion, cracking, chipping, twisting, other deformations, and other types of damage.  Store items in an enclosed area and free from contact with soil and water.  Store adhesives, resins and their catalysts and hardeners in dry indoor storage facilities between 70 and 85 degrees Fahrenheit (21 to 29 degrees Celsius) until they are required.

PART 2 - PRODUCTS

2.1 	MANUFACTURER

- Pultruded grating shall be Safe-T-Span® as manufactured by:

Fibergrate Composite Structures Inc.

5151 Belt Line Road, Suite 1212

Dallas, Texas   75254-7028 USA

(800) 527-4043 	Phone   (972) 250-1530 Fax

Website: www.fibergrate.com

E-mail: info@fibergrate.com

2.2	GENERAL

- All FRP items furnished under this Section shall be composed of fiberglass reinforcement and resin in qualities, quantities, properties, arrangements and dimensions as necessary to meet the design requirements and dimensions as specified in the Contract Documents.

- Fiberglass reinforcement shall be a combination of continuous roving, continuous strand mat, and surfacing veil in sufficient quantities as needed by the application and/or physical properties required.

- Resins shall be {VINYL ESTER or ISOPHTHALIC - choose one} with chemical formulations as necessary to provide the corrosion resistance, strength and other physical properties as required.

- All finished surfaces of FRP items and fabrications shall be smooth, resin-rich, free of voids and without dry spots, cracks, crazes or unreinforced areas.  All glass fibers shall be well covered with resin to protect against their exposure due to wear or weathering.

- All pultruded structural shapes shall be further protected from ultraviolet (UV) light with 1) integral UV inhibitors in the resin and 2) a synthetic surfacing veil to help produce a resin rich surface.

- All FRP products shall have a tested flame spread rating of 25 or less per ASTM E-84 Tunnel Test.  Gratings shall not burn past the 25 mm reference mark and will be classified HB per ASTM D635.

- All grating clips shall be manufactured of Type 316SS (stainless steel).

  - PULTRUDED GRATING

- Manufacture: Grating components shall be high strength and high stiffness pultruded elements having a maximum of 70% and a minimum of 60% glass content (by weight) of continuous roving and continuous strand mat fiberglass reinforcements.  The finished surface of the product shall be provided with a surfacing veil to provide a resin rich surface which improves corrosion resistance and resistance to ultraviolet degradation.  Bearing bars shall be interlocked and epoxied in place with a two piece cross rod system to provide a mechanical and chemical lock.  Cross rods should be below the walking surface of the grating.  Gratings with cross rods that are flush with the walking surface are excluded.

- Non-slip surfacing: Grating shall be provided with a silica sand grit bonded and baked to the top surface of the finished grating product.

- Fire rating: Grating shall be fire retardant with a tested flame spread rating of 25 or less when tested in accordance with ASTM E 84.  Manufacturer may be required to provide certification of ASTM E84 test on grating panels from an independent testing laboratory.  Test data shall be from full scale testing of actual production grating, of the same type and material supplied on   the project.  Test data performed only on the base resin shall not be acceptable.

- Resin system: The resin system used in the manufacture of the grating shall be {VEFR, VINYL ESTER or ISOFR, ISOPHTHALIC - choose one}.  Manufacturer may be required to submit corrosion data from tests performed on actual grating products in standard chemical environments. Corrosion resistance data of the base resin from the manufacturer is not a true indicator of grating corrosion resistance and shall not be accepted.

- Color: Light Gray

- Depth: 1.5" deep load bars with a tolerance of plus or minus 1/32".

- Mesh Configuration: 2.4" load bar spacing; 12" tie bar spacing on centers.  Grating shall be SAFE-T-SPAN® T3815V or T3815I as manufactured by Fibergrate Composite Structures Incorporated.

- Load/Deflection: Grating shall meet manufacturers published safe recommended loadings with deflection not to exceed the following:

Uniform distributed load over a 54" span:  50 pounds per square foot, with a maximum deflection of 0.13".

- Substitutions: Other products of equal strength, stiffness, corrosion resistance and overall quality may be submitted with the proper supporting data to the engineer for approval.

  - GRATING FABRICATION

- Measurements: Grating supplied shall meet the minimum dimensional requirements as shown or specified.  The Contractor shall provide and/or verify measurements in field for work fabricated to fit field conditions as required by grating manufacturer to complete the work.  Determine correct size and locations of required holes or cutouts from field dimensions before grating fabrication.

- Layout: Each grating section shall be readily removable, except where indicated on drawings.  Manufacturer to provide openings and holes where located on the contract drawings.  Grating supports shall be provided at openings in the grating by contractor where necessary to meet load/deflection requirements specified herein.  Grating openings which fit around protrusions (pipes, cables, machinery, etc.) shall be discontinuous at approximately the centerline of opening so each section of grating is readily removable.

- Sealing: All shop fabricated grating cuts shall be coated with vinyl ester resin to provide maximum corrosion resistance.  All field fabricated grating cuts shall be coated similarly by the contractor in accordance with the manufacturer's instructions.

- Hardware: Type 316 stainless steel hold-down clips shall be provided and spaced at a maximum of four feet apart with a minimum of four per piece of grating, or as        recommended by the manufacturer.

PART 3 - EXECUTION

3.1 	INSPECTION

- Shop inspection is authorized as required by the Owner and shall be at Owner's expense.  The fabricator shall give ample notice to Contractor prior to the beginning of any fabrication work so that inspection may be provided.

- The grating shall be as free, as commercially possible, from visual defects such as foreign inclusions, delamination, blisters, resin burns, air bubbles and pits.

3.2 	INSTALLATION

- Contractor shall install gratings in accordance with manufacturer’s assembly drawings.  Lock grating panels securely in place with hold-down fasteners as specified herein.  Field cut and drill fiberglass reinforced plastic products with carbide or diamond tipped bits and blades.  Seal cut or drilled surfaces in accordance with manufacturer's instructions.  Follow manufacturer's instructions when cutting or drilling fiberglass products or using resin products; provide adequate ventilation.